## Cost Breakdown
Appendix D - Schedule of Prices
Schedule A - Cost Breakdown
Submission by
(Full Legal Nme of Company or Individual
H.S.T. Number
(H.S.T Number of Company or Individual
Item | Description | Amount
Mobilization
Project Management
Site Supervision
Onsite facilities | Office Trailers, Portable Washrooms
General Labor
Safety and Security | Fencing, Materials Storage, Storage Sea Can
Removal and Proper Disposal | Garbage/Recycling Bins
Equipment and rental | Electric Generator, Lifting Equipment, etc.
Temporary work
Equipment
Compressors | COM-1, COM-2, COM-3
Dryer (Desiccant) | DD-1
Dryer (Refrigerated) | RD-1, RD-2
Storage Tanks | ST-1 to ST-5
Filters | As recommended by the Air Compressors and Dryer Manufacturer
Separators
Unit Heaters | UH-1, UH-2
Exhaust Fans | EF-1, EF-2, EF-3
Louvers | LOU-1 to LOU-6
Dampers
Valves | Electronic Valves, Non-Return Valves, Manual Shut Off Valves, Safet Valves
Equipment Domolition
Mechanical
Compressed Air Piping | Including Fitting and All Necessary Accessories
Heat Trace and Insulation
Condensate Drain System | Equipment and connection
Gas piping
Rigging and Placement | Equipment Placement
Flow Control Device | Flow Sensor and Control Valve Package
Installation Labor
Electrical
Feeder from Powerhouse to Panel C1 | New 400 ft feeder from PDC main to C1, including 2 parallel sets of 3-600 MCM Cu + 1-#3/0 ground, cable tray / supports / cleats.
Panel C1 | New 600A, 277/480V, 3PH, 4W, 30-circuit panelboard complete with main and branch breakers
Transformer T1 | New 30 kVA, 480-120/208V dry-type transformer complete with grounding, mounting, and terminations
Panel C2 | New 120/208V, 30-circuit panel fed from transformer
Disconnects and Overcurrent Devices | Equipment disconnects, fuses / breakers, starter coordination, lugs, grounding
Power wiring for C1 | Branch power to COM-1, COM-2, RD-1, EF-1, EF-2, future spare, plus raceways / supports / terminations
Separate Source Wiring | Power from existing MCC / DS04 to COM-3, RD-2, EF-3
Auxiliary 129V Power | Branch circuits to DD-1, UH-1, UH-2 and misc. local power accessories
Installation Labor
Electrical Demolition
Controls
BAS Integration
Control Wiring
Sensors | Pressure, Flow, Temperature Sensors
Integration
Commissioning
Civil
Concrete Pad | For Dry Storage Tank
Floor Slab | For New Enclosure
Concrete Apron | For New Enclosure
Bollards | For Dry Storage Tank & New Enclosure
Core Drilling | Penetrations
Regrading | Site Regrading
Labor
Architecture
Man Doors and Frames | Enclosure Man Doors
Roll Up Doors | Enclosure Roll Up Doors
Exterior Walls | Enclosure Walls
Insulation | Enclosure Walls Insulation
Painting | Encloser Structure and Piping Painting
Labor
Other Expenses
TSSA Registration/Coordination
ESA Permit/Coordination
Other structural work
Closeout documentation
Permits And Insurance fees
Bonds
Demobilization
Testing, Inspection and commissioning
Other Costs
Total Project Cost |  | 0
Note: The price set out above shall include any specified allowance and all taxes (excluding HST) except as may be otherwise provided in the RFP Documents, and to furnish all materials, labour, equipment and transportation to perform the entire Work described in the RFP Document, in the manner prescribed therein, and in accordance with the specifications. Please attach any cost breakdowns as a Separate Sheet to the Main Pricing Sheet.

## Domestic Supply Chain
Domestic Supply Chain Plan
Proponents are requested to refer to Appendix D - Schedule of Prices within the RFP for detailed instructions on completing the table below. A completed example is provided below and has also been included within the RFP for reference. Proponents must follow the example provided and complete the table below accordingly. Please complete only the table corresponding to the package(s) for which you are submitting a proposal. Completion of this table is mandatory. Failure to complete the applicable table may result in disqualification.
Example of Domestic Supply Chain Table
Item Description | Origin | Dollar Value (CAD)
(Ontario, Canada, elsewhere)
Example: Concrete | Ontario | 50000
Example: Steel | Canada | 30000
Example: Fixtures | Other | 10000
Item Description | Origin | Dollar Value (CAD)
(Ontario, Canada, elsewhere)
Goods
Compressed Air Equipment
Compressed Air Piping
Electrical Equipment
Electrical Conduits
Summary of Total Values
Category | Total Value ($)
Ontario Made Goods & Services | $
Canadian Made Goods & Services | $
Elsewhere | $

## Pricing for Change Orders
PRICING FOR CHANGE ORDERS / CHANGE DIRECTIVES:
Please quote overhead and profit percentage based on the following project cost ranges:
Project Costs | Overhead % | Profit %
$0 up to $9,999
$10,000 up to $49,999
$50,000 up to $99,999
$100,000 up to 149,999
$150,000 up to $200,000
$200,000 and higher
Please note that these project cost ranges apply to the aggregate price of all change orders and not on a per change order basis. Any OH&P applied shall be calculated against the subtotal of the applicable change order only. ONTC reserves the right to not accept the percentage values provided in the table above and any future change order markups will be reviewed and agreed upon by ONTC and contractor.
Please provide the hourly rate of pay for the following (add an additional page for any Positions not listed below):
Position | Hourly Rate
Project Manager
Estimator
Scheduler
Civil Engineering
Site Supervisor
Carpenter
Electrician
Mechanical Engineer
Mechanical HVAC Contractor Technician
Masonry/Concrete Labour
Stair and Guardrail Installation Labour
Concrete Truck Operator
Crane Operator
Welder
Roofer
General Labour

## Schedule of Progress Payments
Schedule of Progress Payments
Please provide your schedule of progress payments below identifying all payment milestones, associated deliverables, and corresponding payment amounts or percentages.